## Slide 2: Project Update
13/05/24

## Slide 3: Last time:

## Slide 6: Pump calibration
Used pumps built-in method.
  Dispenses specified fixed volume.
  Measure weight of dispensed water
  Input actual volume of water dispensed
    Repeat until satisfactory
Used both tubes simultaneously. Asked to dispense 20mL each into separate beakers.
  First run yielded 18mL +- 0.1mL (by weight) from both.
  Gave adjustment to pump and repeated
  20mL +- 0.1mL. Repeated again with same result
  Asked for 40mL from both. Got 40mL +- 0.1mL.
  Satisfactory